Georgetown Board of Health

1 Library Street Georgetown, MA 01833- Tel. 978-352-5720

Fax. 978-352-5714

Minutes of Meeting

November 16, 2023

Chair, Dana Shuttleworth opened the meeting at 4:30p.m. Also attending was Board Member Paul Thompson, and Health Director, William Holt.  2 Absent Board Member, Peter Lawler & Health Inspector, Virginia Bacon.

Health Director’s Report’s:

Septic system review with waivers:

43 Pond Street - Residential (repair/replacement), Erin E. Pallazola owner/applicant, requesting the waivers to Title 5 and local BOH regulations as noted: 1.) Waiver for system setback of leach area to front property line from 10’ to 5’, requires a boundary survey to mark the lot line.2.) Waiver for system setback of leach area to foundation wall from 20’ to 6’, requires an impervious barrier be installed between the leach area and foundation. 3.) Waiver for reduction in groundwater separation from bottom of bed to seasonal high-water table from 4’ required to 3’ provided.  4.) Waiver of local regulation from a 2000-gallon (2 compartment) tank, to a 1500-gallon tank. 5.) Local waiver for system design flow from 495 GPD (165 GPD per bedroom) to the Title 5 design flow of 330 GPD (110 GPD per bedroom).6.) 10’ setback between S.A.S and water service, water service pipe to be sleeved due to less than 10’. Motion:  By Paul Thompson, to accept the variances as written.   Seconded:  By, Dana Shuttleworth, unanimous.

141 A North Street - Residential (repair/replacement), Daniel Signor owner/applicant requesting the following waivers from Title 5 and local BOH regulations:

In 2022 the owner contracted with Jim Scanlan, PE to perform soil testing and to design the replacement system, and is requesting the following waivers:

- A waiver from a three (3) bedroom minimum requirement required by 310 CMR 15.203 (2); to allow the design flow provided be for the existing one (1) bedroom home.2.) Waiver from a 2000-gallon (2 compartment) tank, to allow the use of the existing 1000-gallon tank with no garbage grinder. 3.) Design for a Garbage grinder 165 gal/day to no grinder (Title 5) 110 gal/day/bedroom with garbage grinder.  Motion:  By Paul Thompson, to accept the variances as written with a 2 bedroom deed restriction. Seconded:  By, Dana Shuttleworth, unanimous.

Update Request for Bid – Septic Installation for 14 Larch Road

Prepared project specifications, scope of work and bid documentation for the

septic installation for the Georgetown Housing Authority property located at 14

Larch Road

Updates:

Discuss extension of installation/soil test deadline date pending weather conditions, Motion:  By Paul Thompson, to allow Director, Bill Holt to exceed date of closing as long as weather allows.   Seconded:  By, Dana Shuttleworth, unanimous.

Body Art application pending - tentative location the King Davis building.

G-town Smoke shop – hearing in December.

207 West Main – loan – installation – added waiver to property line 10’ to 5’.

PHEP Grant – update Inter Municipal Agreement (IMA) and Shared Services

Coordinator

Adjourn:

P.T. made motion to adjourn the meeting at 6:18 PM seconded D.S. called for a vote – all in favor – unanimous.

Respectfully Submitted,

Virginia Bacon

_______________________						__________________________

Dana Shuttleworth - Chair                                     Paul Thompson -Vice Chairman