Georgetown Board of Health

1 Library Street Georgetown, MA 01833- Tel. 978-352-5720

Fax. 978-352-5714

Minutes of Meeting

August 29, 2018

Chair Paul Thompson opened the meeting at 9:00 a.m. Also attending was Board Member Bill Gianacoples, Board Member Dana Shuttleworth, Health Agent, Deborah Rogers and Health Inspector, Virginia Bacon.

6 WINTER STREET -   Professional Engineer, Thomas Manetta, requested the following variance:    1.) Reduction of 12” separation between inlet and outlet tees and high groundwater.  Motion: By Bill Gianacoples, to accept the variance as submitted.    Seconded:  By, Dana Shuttleworth, unanimous.

340 NORTH STREET - Professional Engineer, Thomas Manetta, requested the following variances:    1.) Cellar wall to the soil absorption system required setback 20’ proposed 18.5’.  2.) Property line to soil absorption system required setback 10’ proposed 7’.  3.) Property line to a pump chamber required setback 10’ proposed 7’. Motion: By, Dana Shuttlworth, to accept the variances as submitted.    Seconded:  By, Bill Gianacoples, unanimous.

16 WESTON AVE. – Professional Engineer, George Zamparous, the following variances:  1.) Separation from the soil absorption system to water table required is 4’ proposed is 3’.  2.) Percolation testing approval to use soil analysis provided by UMASS instead of standard Percolation testing due to soil conditions.  3.) Foundation setback to soil absorption system required 20’ proposed 16’, and property line setback required 10’ proposed 7’. 4.)  System design volume per bedroom 165 gpd required 110 gpd proposed.  Motion: By, Dana Shuttlworth, to accept the variances as submitted with a rubber membrane and deed restriction for no garbage grinder.   Seconded:  By, Bill Gianacoples, unanimous.

Meeting Adjourned at 9:56 a.m.

Respectfully Submitted,

Virginia Bacon

_______________________							______________________

Paul Thompson- Chairman							Dana Shuttleworth- Clerk

_____________________

Bill Gianocoples - Member