Georgetown Board of Health

1 Library Street Georgetown, MA 01833- Tel. 978-352-5720

Fax. 978-352-5714

Minutes of Meeting

June 28, 2023

Chair, Dana Shuttleworth opened the meeting at 4:30p.m. Also attending was Board Member Paul Thompson, and Health Director, William Holt.  2 Absent, Health Inspector, Virginia Bacon & board member Peter Lawler.

Health Director’s Report’s:

Septic system review with waivers:

10 Tayler Street - Residential (repair/replacement), 2 bedrooms, reviewed and requesting two waivers noted: 1.) Waiver for system setback to wetland resource area from 100 feet to 74 feet. 2.) Waiver from a 2000-gallon (2 compartment) tank, to a 1500-gallon (2 compartment) tank.  Motion:  By Paul Thompson, to accept the variances as written pending Con Com approval.  Seconded:  By, Dana Shuttleworth, unanimous.

207West Main Street - Residential (repair/replacement), 3 bedroom, as designed requesting two waivers noted: 1.) Waiver for system setback to wetland resource area from 100 feet to 54’ tank from 50’ to 32’.2.) Waiver for system setback to foundation wall from 20’ to 17’.  Motion:  By Paul Thompson, to accept the variances as written pending Con Com approval.  Seconded:  By, Dana Shuttleworth, unanimous.

Health Director, William Holt updated the board on the following: BOH Permits, Inspections, restaurants, food service, septic, animals:

Public and Semi-Public Pools:

None.

Apartment (Residential Rental) inspections:

None.

Camp Inspections:

Camp Leslie  –  inspect the premises overall;

Camp Dennison

Permits issued:   - LARP Adventure Program camp was inspected and issued permit to operate.

- Wild about nature camp was inspected and issued permit to operate.

Pond Testing:     - at Pentucket Pond ALP began 6/14/23 and continues until September 6th.   Camp Leslie testing begins 6/28/23.

Food Service Inspections:

Village Sub & Pizza reinspected several times,

Pomodori’s twice,

Best Bagel twice,

Flatbread reinspection,

The Stone Pantry,

Hatters Tea Shoppe

Septic System Installation Inspections:

10 Mill Street - residential repair installation permit issued final inspection

Completed – received As-built and issued CoC

12 Charles Street - residential repair installation permit issued final inspection

Completed - received As-built and issued CoC

53 Lake Shore Drive - residential repair installation permit issued, final inspection

Completed – received As-built and issued CoC

51 West Main Street – commercial restaurant/office installation permit issued.

Final inspection completed – have not received As -built.

All of the above installation permits/inspection require tank, bed bottom inspection, sand, system piping and d-box final inspection, and final grading inspections.

Soil and Perc Testing:

2 Grapevine Circle - Residential pool house connection

51 West Main Street – commercial restaurant/office installation of tanks and

Septic Approvals Issued:

- East Main Street - (repair 17 rooms max 8 bedrooms allowed) Conversion from single family to two family bedrooms per unit) reviewed and approved with no waivers.

83 North Street – residential / repair installation reviewed and approval

issued waiver for SAS separation from groundwater from 4’ to 3’.

2 Grapevine Circle - residential pool house septic/water connect installation.

2 Fieldstone Lane  - residential repair – rejuvenation of Presby system in accordance with DEP Alternative technology approval, and Presby Systems Inc, rejuvenation guidance.

Department reviews:

Conservation:

83 North Street reviewed the Conservation NOI application for compliance with BOH approval and permit issued.

53 Lake Shore reviewed the Conservation NOI application for compliance with BOH approval and permit issued.

Zoning  Board of Appeals:

Reviewed the following ZBA applications for compliance with BOH approval and permits issued. None.

Planning Board:

Reviewed the following Site Plan Review submissions to the Planning Board for compliance with BOH approval and permits issued.

20 Carleton Drive G. Mello Transfer Station;

Provided BOH Site Assignment Decision.  Noted that a proposed septic system location is shown, no formal submittal for septic approval has been made, will review upon receipt.  Noted that BOS Host agreement mentions Air Quality monitoring devices will be installed, which will assist in complying with the BOH condition of the Site Assignment decision related to Air Quality.  I am still reviewing the Drainage Design and Stormwater Management Plan. Sent Planning Board a memo.

Complaints Received:

123 Central Street resident / tenant complained about leaking roof into ceiling, light fixture long term staining of ceiling. Response: Sent Notice of Housing Code violation and Order to Correct within 7 days via regular US Postal Service and certified mail/return receipt. The property owner / landlord informed me that a temporary patch had been installed on the roof and it appears to have eliminated the leak, an electrician and contractor were hired to repair the interior damage.  A permanent solution, replacement of the entire roof, will be completed by mid July, pending weather and availability of contractor. I will continue to monitor the situation to determine if further action by the BOH is required.

Other BOH Business:

Public Health Nurse Pam Lara – contract extension for 2024; wage increase; $610.36 monthly.

Town Physician consultant – contract extension for 2024

Proposed clinics, flu other:

None

Updates: Smoke shop coming to the Eagle Building Cigar/Pipe & current Smoke Shop wants a smoking lounge now.  Health Director, William Holt is going to get in touch with town council to discuss if allowable in Georgetown.

240 Andover Street – Title 5 inspection revealed unapproved uses that required removal prior to acceptance of passing report status. Owner has initiated the process to obtain (Building Dept) permits, to remove the non-compliant and un-permitted plumbing in the “bunkhouse” and one bedroom apartment. The BOH will want certification from Plumbing Inspector that work has been completed in compliance with building code. I will make a site visit to confirm uses have been abandoned.

MINUTES OF MEETING - Motion:  By Paul Thompson to approve the May 3, 2023 & May 24, 2023 minutes as written, Seconded:  By Dana Shuttleworth, unanimous.

Meeting Adjourned 5:20 p.m.

Respectfully Submitted,

Virginia Bacon

_______________________

Dana Shuttleworth - Chair

_________________________

Paul Thompson -Vice Chairman